## Sheet1
LOCATION | EQUIPMENT | MAKE | MODEL
OT | ANAESTHESIA MACHINE | DATEX OHMEDA | AESPIRE -7900
OT | ANAESTHESIA MACHINE | DATEX OHMEDA | AESPIRE -7900
OT | ANAESTHESIA MACHINE | GE | AVANCE
OT | ANAESTHESIA MACHINE | GE | 9100C
OT | ANAESTHESIA MACHINE | DRAGER | PRIMUS
OT | ANAESTHESIA MACHINE | DRAGER | FABIUS PLUS
OT | ANAESTHESIA MACHINE | DRAGER | FABIUS PLUS
OT | ANAESTHESIA MACHINE | DRAGER | FABIUS PLUS
OT | ANAESTHESIA MACHINE | GE | AVANCE
OT | ANAESTHESIA MACHINE | GE | 9100C
OT | ANAESTHESIA MACHINE | GE | 9100C
OT | BOYLES APPARATAUS | L&T | HM90080
OT | BOYLES APPARATAUS | L&T | HM90080
CATHLAB | ACT MACHINE | HELENA | ACTALYTE MINI
OT | ACT MACHINE | HELENA | ACTALYTE MINI
AUDIOLOGY | AUDIOMETER | MAICO | M53
OPTHALMOLOGY | AUTO LENS METER | SHIN NIPPON | SLM 5000
OPTHALMOLOGY | A-SCAN | SONOMED | PAC SCAN 300A
OPTHALMOLOGY | AUTO REFERATOMETER | SHIN NIPPON | ACCUREF-K9001
DENTAL OP | AUTOCLAVE | MECHLAVE | QUADRA 12
LAB-AUTOCLAVE ROOM | AUTOCLAVE | YORCO SCIENTIFIC | STERI
LAB-AUTOCLAVE ROOM | AUTOCLAVE | ROYAL SURGICALS | RA-1030
LAB-BACTERIOLOGY | B O D COOLING INCUBATOR | ROTEK
OT-CARDIAC | BAIR HUGGER | ALLIANCE | 750
OT-CARDIAC | BAIR HUGGER | ALLIANCE | 750
CTICU | BAIR HUGGER | ALLIANCE | 750
ICCU | BIPAP | RESPRONICS | BIPAP S/T
CICU | BIPAP | RESPRONICS | BIPAP S/T
PULMUNOLOGY OP | BIPAP | RESMED | VPAP TX
CASUALTY | DEFIBRILLATOR | PHILIPS | HEART START XL
ICCU | DEFIBRILLATOR | PHILIPS | HEART START XL
ICCU | DEFIBRILLATOR | PHILIPS | HEART START XL
MICU | DEFIBRILLATOR | PHILIPS | HEART START XL
CARDIOLOGY WARD | DEFIBRILLATOR | PHILIPS | HEART START XL
CARDIOLOGY OP/TMT | DEFIBRILLATOR | PHILIPS | HEART START XL
OT SURGERY | DEFIBRILLATOR | PHILIPS | HEART START XL
NEURO ICU | DEFIBRILLATOR | PHILIPS | HEART START XL
DIALYSIS | DEFIBRILLATOR | PHILIPS | HEART START XL
CATHLAB | DEFIBRILLATOR | PHILIPS | HEART START XL
CTICU | DEFIBRILLATOR | PHILIPS | HEART START XL
CTICU | DEFIBRILLATOR | PHILIPS | HEART START XL
OT | DEFIBRILLATOR | PHILIPS | HEART START XL +
MICU | ECG MACHINE | MAQUET | MAC 400
ICCU | ECG MACHINE | PHILIPS | TRIM 1
CICU | ECG MACHINE | PHILIPS | TRIM 1
CARDIOLOGY WARD | ECG MACHINE | PHILIPS | TRIM 1
CARDIOLOGY OP | ECG MACHINE | PHILIPS | TRIM1
ECG ROOM | ECG MACHINE | PHILIPS | TRIM1
4TH FLOOR | ECG MACHINE | BPL | CARDIART 6108T
ECG ROOM | ECG MACHINE | PHILIPS | TC 30
CT PAYWARD | ECG MACHINE | BPL | 108T DIGI
CTICU | ECG MACHINE | PHILIPS | TC 30
CASUALTY | ECG MACHINE | PHILIPS | C3i
CASUALTY | MULTIPARA MONITOR | PHILIPS | VM6
CASUALTY | MULTIPARA MONITOR | PHILIPS | VM4
ICCU | MULTIPARA MONITOR | PHILIPS | VM6
ICCU | MULTIPARA MONITOR | BPL | EXCELLO
ENDOSCOPY ROOM | MULTIPARA MONITOR | PHILIPS | VM6
ICCU | MULTIPARA MONITOR | BPL | EXCELLO
ICCU | MULTIPARA MONITOR | BPL | EXCELLO
ICCU | MULTIPARA MONITOR | BPL | EXCELLO
ICCU | MULTIPARA MONITOR | PHILIPS | VM6
ICCU | MULTIPARA MONITOR | BPL | EXCELLO
ICCU | MULTIPARA MONITOR | PHILIPS | VM6
SICU | MULTIPARA MONITOR | PHILIPS | VM6
SICU | MULTIPARA MONITOR | BPL | EXCELLO
SICU | MULTIPARA MONITOR | PHILIPS | MP 20
SICU | MULTIPARA MONITOR | BPL | EXCELLO
SICU | MULTIPARA MONITOR | BPL | EXCELLO
CICU | MULTIPARA MONITOR | PHILIPS | VM6
CICU | MULTIPARA MONITOR | PHILIPS | VM8
CICU | MULTIPARA MONITOR | PHILIPS | VM6
CICU | MULTIPARA MONITOR | PHILIPS | VM4
SICU | MULTIPARA MONITOR | PHILIPS | VM4
SICU | MULTIPARA MONITOR | PHILIPS | VM4
SICU | MULTIPARA MONITOR | PHILIPS | VM4
SICU | MULTIPARA MONITOR | PHILIPS | VM4
SICU | MULTIPARA MONITOR | PHILIPS | VM4
SICU | MULTIPARA MONITOR | PHILIPS | VM4
SICU | MULTIPARA MONITOR | PHILIPS | VM4
SICU | MULTIPARA MONITOR | PHILIPS | VM6
MICU | MULTIPARA MONITOR | PHILIPS | VM6
MICU | MULTIPARA MONITOR | PHILIPS | VM6
MICU | MULTIPARA MONITOR | BPL | EXCELLO
MICU | MULTIPARA MONITOR | PHILIPS | VM6
MICU | MULTIPARA MONITOR | PHILIPS | VM6
NICU | MULTIPARA MONITOR | PHILIPS | VM6
NICU | MULTIPARA MONITOR | PHILIPS | VM6
LABOUR ROOM | MULTIPARA MONITOR | BPL | AGENTA
DIALYSIS | MULTIPARA MONITOR | BPL | EXCELLO
4th Ist PAYWARD | MULTIPARA MONITOR | PHILIPS | VM6
CARDIOLOGY WARD | MULTIPARA MONITOR | PHILIPS | VM3
CARDIOLOGY WARD | MULTIPARA MONITOR | PHILIPS | VM3
OT-ORTHO | MULTIPARA MONITOR | PHILIPS | MP 20
OT-SURGERY | MULTIPARA MONITOR | GE | B30
OT-ENT | MULTIPARA MONITOR | GE | DASH4000
OT-GYN | MULTIPARA MONITOR | PHILIPS | MP 20
ENDOSCOPY ROOM | MULTIPARA MONITOR | PHILIPS | VM4
BRONCHOSCOPY ROOM | MULTIPARA MONITOR | PHILIPS | VM6
PEADIATRIC WARD | MULTIPARA MONITOR | PHILIPS | VM4
RECOVERY | MULTIPARA MONITOR | PHILIPS | VS 3
RECOVERY | MULTIPARA MONITOR | PHILIPS | VS 3
RECOVERY | MULTIPARA MONITOR | PHILIPS | VS 3
RECOVERY | MULTIPARA MONITOR | PHILIPS | VS 3
RECOVERY | MULTIPARA MONITOR | PHILIPS | VM6
RECOVERY | MULTIPARA MONITOR | PHILIPS | VM6
RECOVERY | MULTIPARA MONITOR | PHILIPS | VM6
RECOVERY | MULTIPARA MONITOR | PHILIPS | VM6
ICCU | MULTIPARA MONITOR | PHILIPS | MP 20
ICCU | MULTIPARA MONITOR | PHILIPS | MP 20
ICCU | MULTIPARA MONITOR | PHILIPS | MP 20
ICCU | MULTIPARA MONITOR | PHILIPS | MP 20
ICCU | MULTIPARA MONITOR | PHILIPS | MP 20
ICCU | MULTIPARA MONITOR | PHILIPS | MP 20
ICCU | MULTIPARA MONITOR | PHILIPS | MP 20
ICCU | MULTIPARA MONITOR | PHILIPS | MP 20
ICCU | MULTIPARA MONITOR | PHILIPS | MP 20
ICCU | MULTIPARA MONITOR | PHILIPS | MP 40
ICCU | MULTIPARA MONITOR | PHILIPS | MP 40
ICCU | MULTIPARA MONITOR | PHILIPS | VM6
ICCU | MULTIPARA MONITOR | PHILIPS | VM6
ICCU | MULTIPARA MONITOR | PHILIPS | VM6
ICCU | MULTIPARA MONITOR | PHILIPS | VM6
ICCU | MULTIPARA MONITOR | PHILIPS | VM6
ICCU | MULTIPARA MONITOR | PHILIPS | VM6
ICCU | MULTIPARA MONITOR | PHILIPS | VM6
ICCU | MULTIPARA MONITOR | PHILIPS | VM6
ICCU | MULTIPARA MONITOR | PHILIPS | VM6
SICU | MULTIPARA MONITOR | PHILIPS | MP 20
OT | MULTIPARA MONITOR | PHILIPS | MP 70
OT | MULTIPARA MONITOR | PHILIPS | MP 70
ICCU | MULTIPARA MONITOR | PHILIPS | MP 20
ICCU | MULTIPARA MONITOR | PHILIPS | MP 20
ICCU | MULTIPARA MONITOR | PHILIPS | MP 20
ICCU | MULTIPARA MONITOR | PHILIPS | VM6
ICCU | MULTIPARA MONITOR | PHILIPS | VM6
SICU | MULTIPARA MONITOR | PHILIPS | MP 20
SICU | MULTIPARA MONITOR | PHILIPS | MP 20
SICU | MULTIPARA MONITOR | PHILIPS | MP 20
SICU | MULTIPARA MONITOR | PHILIPS | MP 20
SICU | MULTIPARA MONITOR | PHILIPS | MP 20
ICCU | MULTIPARA MONITOR | PHILIPS | MP 20
ICCU | MULTIPARA MONITOR | PHILIPS | MP 20
ICCU | MULTIPARA MONITOR | PHILIPS | MP 20
SICU | MULTIPARA MONITOR | PHILIPS | VM6
CASUALTY | PORTABLE VENTILATOR | GE | iVENT
NSICU | VENTILATOR | GE | ENGSTROM
NSICU | VENTILATOR | MAQUET | SERVO-S
CICU | VENTILATOR | MAQUET | SERVO-S
CICU | VENTILATOR | MAQUET | SERVO-S
CICU | VENTILATOR | MAQUET | SERVO-S
NICU | VENTILATOR | GE | ENGSTROM
CTICU | VENTILATOR | GE | ENGSTROM
ICCU | VENTILATOR | GE | ENGSTROM
CTICU | VENTILATOR | GE | ENGSTROM
CTICU | VENTILATOR | GE | ENGSTROM
ICCU | SYRINGE PUMP | B-BRAUN | PERFUSOR COMPACT
ICCU | SYRINGE PUMP | B-BRAUN | PERFUSOR COMPACT
ICCU | SYRINGE PUMP | B-BRAUN | PERFUSOR COMPACT
ICCU | SYRINGE PUMP | B-BRAUN | PERFUSOR COMPACT
NSICU | SYRINGE PUMP | B-BRAUN | PERFUSOR COMPACT
NSICU | SYRINGE PUMP | B-BRAUN | PERFUSOR COMPACT
NSICU | SYRINGE PUMP | B-BRAUN | PERFUSOR COMPACT
CICU | SYRINGE PUMP | B-BRAUN | PERFUSOR COMPACT
CICU | SYRINGE PUMP | B-BRAUN | PERFUSOR COMPACT
CICU | SYRINGE PUMP | B-BRAUN | PERFUSOR COMPACT
CICU | SYRINGE PUMP | B-BRAUN | PERFUSOR COMPACT
CICU | SYRINGE PUMP | B-BRAUN | PERFUSOR COMPACT
SICU | SYRINGE PUMP | L&T | SP102
DIALYSIS | SYRINGE PUMP | TERUMO | TE-331
DIALYSIS | SYRINGE PUMP | TERUMO | TE-331
PICU | SYRINGE PUMP | TERUMO | TE-331
PICU | SYRINGE PUMP | TERUMO | TE-331
CATHLAB | SYRINGE PUMP | TERUMO | TE-331
CATHLAB | SYRINGE PUMP | TERUMO | TE-331
OT-CARDIAC | SYRINGE PUMP | TERUMO | TE-331
OT-CARDIAC | SYRINGE PUMP | TERUMO | TE-331
OT-CARDIAC | SYRINGE PUMP | TERUMO | TE-331
OT-CARDIAC | SYRINGE PUMP | TERUMO | TE-331
OT-CARDIAC | SYRINGE PUMP | TERUMO | TE-331
OT-CARDIAC | SYRINGE PUMP | TERUMO | TE-331
OT-CARDIAC | SYRINGE PUMP | TERUMO | TE-331
OT-CARDIAC | SYRINGE PUMP | TERUMO | TE-331
OT-CARDIAC | SYRINGE PUMP | TERUMO | TE-331
CTICU | SYRINGE PUMP | TERUMO | TE-331
CTICU | SYRINGE PUMP | TERUMO | TE-331
CTICU | SYRINGE PUMP | TERUMO | TE-331
CTICU | SYRINGE PUMP | TERUMO | TE-331
CTICU | SYRINGE PUMP | TERUMO | TE-331
OT | SYRINGE PUMP | TERUMO | TE-331
MICU | SYRINGE PUMP | TERUMO | TE-331
NICU | SYRINGE PUMP | TERUMO | TE-331
ICCU | SYRINGE PUMP | TERUMO | TE-331
ICCU | SYRINGE PUMP | TERUMO | TE-331
CICU | SYRINGE PUMP | TERUMO | TE-331
CICU | SYRINGE PUMP | B-BRAUN | PERFUSOR COMPACT
CICU | SYRINGE PUMP | B-BRAUN | PERFUSOR COMPACT
ICCU | SYRINGE PUMP | B-BRAUN | PERFUSOR COMPACT
ICCU | SYRINGE PUMP | B-BRAUN | PERFUSOR COMPACT
SICU | SYRINGE PUMP | TERUMO | TE-331
ICCU | INFUSION PUMP | B-BRAUN | INFUSOMAT
ICCU | INFUSION PUMP | B-BRAUN | INFUSOMAT
NSICU | INFUSION PUMP | B-BRAUN | INFUSOMAT
CICU | INFUSION PUMP | B-BRAUN | INFUSOMAT
CICU | INFUSION PUMP | B-BRAUN | INFUSOMAT
CICU | INFUSION PUMP | B-BRAUN | INFUSOMAT
SICU | INFUSION PUMP | L&T | TOP2200
MICU | INFUSION PUMP | L&T | TOP2200
NICU | INFUSION PUMP | L&T | TOP2200
LABOUR ROOM | INFUSION PUMP | L&T | TOP2200
OT SURGERY | INFUSION PUMP | L&T | TOP2200
CICU | INFUSION PUMP | B-BRAUN | INFOSOMAT P
ICCU | INFUSION PUMP | B-BRAUN | INFOSOMAT P
AUDIOLOGY | TIMPANOMETER | MAICO | M134
AUDIOLOGY | AUDIOMETER | MAICO | M53
ENT OP | SINOSCOPE | VANSARI | WATTEC 250 D2
ENT OP | SINOSCOPE | CONVERTER | ENDODIGI
ENT OP | SINOSCOPE | LIGHT SOURCE | VMS
ENT OP | SINOSCOPE | VANSARI | WATTEC 250 D2
RADIOLOGY | US/ECHO MACHINE | PHILIPS | HD 11 XE
RADIOLOGY | US/ECHO MACHINE | PHILIPS | IE 33
RADIOLOGY | ULTRA SOUND | PHILIPS | HD 11 XE
RADIOLOGY | ULTRA SOUND | PHILIPS | HD15
RADIOLOGY | X-RAY 300 | GE | DX-300
RADIOLOGY | X-RAY 500 | SIEMENS | HELIOPHOS D
RADIOLOGY | X-RAY 800 | MEDITRONICS | DIAGNOX-300
RADIOLOGY | X-RAY 300 | BHARATH ELECTRONICS
RADIOLOGY | C-ARM | SIEMENS | 5C
RADIOLOGY | PORTABLE X-RAY | GE | STALLION 60
RADIOLOGY | PORTABLE X-RAY | GE | GENIUS 60
RADIOLOGY | PORTABLE X-RAY | SIEMENS | SIMOX PLUS
RADIOLOGY | DIGITAL MAMMOGRAPHY | GE | SENOGRAPHE DMR
RADIOLOGY | COMPUTED TOMOGRAPHY | SIEMENS | SOMOTOM EMOTION
RADIOLOGY | CASSETTE READER | FUJI FILM | PROFECT
RADIOLOGY | CASSETTE PRINTER | FUJI FILM | DRY PIX7000
RADIOLOGY | DRY LASER PRINTER | FUJI FILM | DRY PIX4000
OT | ENT MICROSCOPE | CARL ZEIS | OPMI MOVENA
OT | OT TABLE | ROYAL SURGICALS | MANUAL
OT | OT TABLE | PALAKAD SURGICALS | PSI LEGEND
OT | ELECTROSURGICAL UNIT | ELECTOSURGE | 400D
OT | ENT UNIT (SHAVER) | KARL STORZ | UNI DRIVE ECO C
OT | RECORDER | KARL STORZ | AIDA COMPACT-2
OT | ELECTROSURGICAL UNIT | CONMED | CONMED
OT | CAMERA | KARL STORZ | IMAGE HUB1
OT | CO2 INSUFLATOR | KARL STORZ | ELECTRONIC ENDOFLATOR
OT | MONITOR | KARL STORZ | KARL STORZ
OT | LIGHT SOURCE | KARL STORZ | XENON NOVA 300
OT | SUCTION IRRIGATION MACHINE | UNIVAC PLUS | DELUXE
OT | OT TABLE | ROYAL SURGICALS | RT-1005
OT | ELECTROSURGICAL UNIT | SHALYA | EASY
OT | OT TABLE | ROYAL SURGICALS | MANUAL
OT | OT- LIGHT | PHILIPS | PHILILUX M70
OT | SPOT LIGHT | PHILIPS | PHILILUX MOBIL
OT | SPOT LIGHT | PHILIPS | MOBILUX 100
OT | ELECTROSURGICAL UNIT | SHALYA | EASY
OT | TORNIQUETTE | MDE | INTELLIGENT-2001
OT | OT- LIGHT | PHILIPS | PHILILUX M70 + 5M
OT | OT TABLE | PALAKAD SURGICALS | PSI LEGEND
OT | OT- LIGHT | PHILIPS | PHILILUX STANDARD
OT | ELECTROSURGICAL UNIT | JOHNSON&JOHNSON | CODMAN
OT | OT- LIGHT | BERCHTOLD | CHROMOPHARE P540
OT | DRILL | NSK | PRIMADO
OT | LIGHT SOURCE | ISOLUX | 1300XSB
OT | OT TABLE | PALAKAD SURGICALS | PSI LEGEND
OT | SURGICAL MICROSCOPE | SHIN NIPPON | 0P 2
OT | OT TABLE | PLANTEC | OPTB 500
OT | OPTHAL CAUTERY | APPASAMY
OT | LITHOCLAST | EMS | SWISS
OT | SCALPEL | HARMONIC
OT | OT- LIGHT | MAQUET | HLD 500
OT | OT TABLE | MAQUET | ALPHASTAR
OT | HEART LUNG MACHINE | SARNS | 8000 5 PUMP
OT | HEART LUNG MACHINE | SARNS | 8000 4 PUMP
OT | IABP | DATASCOPE | CS-100
OT | IABP | DATASCOPE | CS-100
OT | HEMOTHERM | TERMO
OT | HEMOTHERM | TERMO
OT | OT- LIGHT | STERIS | HARMONY V LED
OT | OT- LIGHT | BERCHTOLD | CHROMOPHARE P540
OT | OT- LIGHT | BERCHTOLD | CHROMOPHARE 510
OT | OT- LIGHT | DR. MAX | 2066
OT | OT- LIGHT | DR. MAX | 2066
OT | OT- LIGHT | DR. MAX | 2066
OT | OT- LIGHT | DR. MAX | 2066
OT | OT- LIGHT | DR. MAX | 2066
OT | OT TABLE | TRIDENT | 7000S
OT | OT TABLE | TRIDENT | 7000S
OT | DRILL | MANMAN | DRIVE
OT | DRILL | MDE | POWER DRLL MULTITASK
OT | ELECTROSURGICAL UNIT | VALLEY LAB | FORCE FX 8L
OT | ELECTROSURGICAL UNIT | VALLEY LAB | FORCE FX 8L
OT | ELECTROSURGICAL UNIT | VALLEY LAB | FORCE FX 8L
OT | PACE MAKER | MEDTRONICS | MEDTRONICS- SINGLE
OT | PACE MAKER | MEDTRONICS | MEDTRONICS- DUAL
OT | FLASH STERILIZER | STURDY | SA-252-F 40L
ENDOSCOPY ROOM | ENDOSCOPE | OLYMPUS | CV-150
BRONCHOSCOPY ROOM | BRONCHOSCOPE(PROCESSOR) | PENTAX | EPK-P
CATHLAB | CATHLAB | PHILIPS | ALLURA XPER FD10
CATHLAB | PRESSURE INJECTOR | TYCOON | 900001
LAB-BIOCHEMISTRY | HORMONE ANALYSER | BIOMERIUX | VIDAS
LAB-BIOCHEMISTRY | BLOOD GAS ANALYSER | RADIOMETER | ABL80 FLEX
LAB-BIOCHEMISTRY | ELECTROLYTE ANALYSER | KANGLI | ACCULITE 3P
LAB-BIOCHEMISTRY | FLAME PHOTO METER | PEI | AIMIL
LAB-BIOCHEMISTRY | FULLY AUTO ANALYSER | ROCHE | COBAS INTEGRA 400
LAB-BIOCHEMISTRY | COAGULATION ANALYSER(rent) | ROCHE | AMELUNG
LAB-BIOCHEMISTRY | CASSET MIXTURE | ROCHE | HEIDOLPH
LAB-BIOCHEMISTRY | ELECTROLYTE ANALYSER | CORNLEY | ACCULITE 3P
LAB-BIOCHEMISTRY | FULLY AUTO ANALYSER(rent) | ROCHE | COBAS INTEGRA 400 PLUS
LAB-BIOCHEMISTRY | CENTRIFUGE | REMI | R8C
LAB-HEMATOLOGY | CELL COUNTER - 5 PART | MINDRAY | BC5380
LAB-BIOCHEMISTRY | REAGENT STORAGE CABINET | REMI
LAB-BIOCHEMISTRY | HOT AIR OVEN | BESTON
LAB-BIOCHEMISTRY | HOT AIR OVEN | ROTEK
LAB-HEMATOLOGY | CALORI METER | SYSTRONICS | 114
LAB-HEMATOLOGY | MICROSCOPE | LABOMED | CLX MONO
LAB-HEMATOLOGY | MICROSCOPE | LABOMED | VISION 2000
LAB-HEMATOLOGY | WATER BATH | ROTEK
LAB-HEMATOLOGY | MICROSCOPE | LABOMED | CLX MONO
LAB-PATHOLOGY | CENTRIFUGE | KEMI | C8C
LAB-PATHOLOGY | MICROSCOPE | LABOMED | CLX MONO
LAB-VIROLOGY | DEEP FREEZER -20 | KEMI | KDFV-3
LAB-VIROLOGY | INCUBATOR | ROTEK
LAB-PATHOLOGY | PH-METER | CYBERLAB | CYBER PH-L
LAB-MEDICAL ROOM | MICROSCOPE | LABOMED | CX L2
LAB-MEDICAL ROOM | MICROSCOPE | LABOMED | CXL MONO
LAB-BACTERIOLOGY | B O D COOLING INCUBATOR | ROTEK
LAB-BACTERIOLOGY | LAMINAR CHAMBER | STERI CLEAN | BM189A
LAB-BACTERIOLOGY | MICROSCOPE | LABOMED | VISION 2000
LAB-PARASITOLOGY | INCUBATOR | ROTEK
LAB-PARASITOLOGY | CENTRIFUGE | KEMI | C 45
LAB-PARASITOLOGY | MICROSCOPE | LABOMED | CX L2
LAB-SEROLOGY | CENTRIFUGE | ROTEK | M8E
LAB-SEROLOGY | SHAKER | KEMI | VDRL SHAKER
LAB-SEROLOGY | SHAKER | ROTEK | VDRL ROTATOR
LAB-SEROLOGY | WATER BATH | ROTEK
LAB-MYCOBACTERIUM | MICROSCOPE | LABOMED | VISION 2000
LAB-MYCOBACTERIUM | INCUBATOR | ROTEK
LAB-MYCOBACTERIUM | PH-METER | E U TECH | PH TUTER
LAB-MYCOBACTERIUM | INSIPISATOR | ROTEK
LAB-MYCOBACTERIUM | HOT PLATE | ROTEK
LAB-MYCOBACTERIUM | WATER BATH | ROTEK | RSW-06P
LAB-AUTOCLAVE ROOM | AUTOCLAVE | YORCO SCIENTIFIC | STERI
LAB-AUTOCLAVE ROOM | AUTOCLAVE | ROYAL SURGICALS | RA-1030
LAB-MYCOBACTERIUM | INOCULATION HOOD | ROTEK
LAB-MYCOBACTERIUM | WEIGHING BALANCE | K-ROY INSTRUMENT
LAB-BIOCHEMISTRY | MICRO PIPPETTE | THERMO SCIENTIFIC | F3 10- 100 µl
LAB-BIOCHEMISTRY | MICRO PIPPETTE | THERMO SCIENTIFIC | F3 20-200 µl
LAB-BIOCHEMISTRY | MICRO PIPPETTE | THERMO SCIENTIFIC | 100µl
LAB-BIOCHEMISTRY | MICRO PIPPETTE | BIO SYSTEM | CLASSIC 100µl
LAB-BIOCHEMISTRY | MICRO PIPPETTE | MICRO PIPPETTE | 10µl
LAB-BIOCHEMISTRY | MICRO PIPPETTE | LAB SYSTEMS | FP 200µl
LAB-BIOCHEMISTRY | MICRO PIPPETTE | ACCUMAX | 200-1000µl
LAB-BIOCHEMISTRY | MICRO PIPPETTE | VIPRΩ | 100-1000µl
LAB-BIOCHEMISTRY | MICRO PIPPETTE | THERMO SCIENTIFIC | F3 1-10µl
LAB-BIOCHEMISTRY | MICRO PIPPETTE | VIPRΩ | 20-200µl
LAB-BIOCHEMISTRY | MICRO PIPPETTE | FIXAPETTE | 50µl
LAB-HEMATOLOGY | MICRO PIPPETTE | LAB SYSTEMS | FP 100µl
LAB-HEMATOLOGY | MICRO PIPPETTE | HANDYPETTE | 100-1000µl
LAB-HEMATOLOGY | MICRO PIPPETTE | HANDYPETTE | 10-100µl
LAB-SEROLOGY | MICRO PIPPETTE | ACCUMAX | 10-100µl
LAB-SEROLOGY | MICRO PIPPETTE | ACCUMAX | 500µl
LAB-PATHOLOGY | TISSUE PROCESSOR | YORCO SCIENTIFIC | YSI 103
LAB-PATHOLOGY | INCUBATOR | KEMI | KIS - 3F0
LAB-PATHOLOGY | MICROTOME | LEICA | RM 2125
LAB-PATHOLOGY | TISSUE FLOTATION BATH | ROTEK
LAB-PATHOLOGY | INCUBATOR | KEMI | KIMS 1
LAB-PATHOLOGY | CENTRIFUGE | REMI | R-4C
LAB-PATHOLOGY | MICROTOME | YORCO SCIENTIFIC | YSI 115
LAB-PATHOLOGY | SLIDE WARMING | YORCO SCIENTIFIC | YSI 132
LAB-PATHOLOGY | MICROSCOPE | LABOMED | LX300
LAB-PATHOLOGY | MICROSCOPE | LABOMED | LX301
LAB-PATHOLOGY | INCUBATOR | KEMI
LAB-HEMATOLOGY | MICROSCOPE | LABOMED | CXL MONO
LAB-MYCOBACTERIUM | INCUBATOR | ROTEK
LAB-HEMATOLOGY | CENTRIFUGE | KEMI | C-45
LAB-BIOCHEMISTRY | MICROPIPPETTE | LAB SYSTEMS | FINNPPETTE
LAB-MEDIA PREP | WEIGHNG SCALE DIGITAL | SHIMADZU | ELB300
LAB-MEDIA PREPARATION | HOT AIR OVEN | ROTEK | RHO-18 DSS
LAB-BIOCHEMISTRY | SEMI AUTO ANALYSER | MERCK | ML 300
LABOR ROOM | COMPUTED TOCOGRAPH | BPL | DIV/9854/R
LABOR ROOM | FOETAL DOPPLER | BPL | FD9713
LAB-BIOCHEMISTRY | CENTRIFUGE | REMI | 12C
BLOOD BANK | DONOR COUCH | QUALIMED | C-101
BLOOD BANK | BLOOD COLLECTION MONITOR | TECSONIC | TCM 02
BLOOD BANK | TUBE SEALER | TERMO PENPOL | XS 1010
BLOOD BANK | PLASMA EXPRESSOR | TERMO PENPOL | COMPO SAFE M 1.0
BLOOD BANK | BLOOD STORAGE CABINET | REMI | BR 70 SR
BLOOD BANK | BLOOD STORAGE CABINET | REMI | BR 120SR
BLOOD BANK | BLOOD STORAGE CABINET | REMI | RSC 01
BLOOD BANK | ELISA WASHER | SPAN | AUTO WASHER 4021
BLOOD BANK | ELISA READER | SPAN | AUTO READER 4011
BLOOD BANK | ROTORY SHAKER | REMI | RS12R
BLOOD BANK | INCUBATOR | BESTON | BINS 2
BLOOD BANK | DIGITAL PHOTOMETER | RADIANT
BLOOD BANK | HOT AIR OVEN | BESTON | BITOS-3A
BLOOD BANK | CENTRIFUGE | REMI | R 8C
BLOOD BANK | MICROSCOPE | LABOMED | VISION 2000
BLOOD BANK | WATER BATH | BESTON | BSW S 2
BLOOD BANK | MICRO PIPPETTE |  | 10µl
BLOOD BANK | MICRO PIPPETTE | LABOPETTE | 5-50µl
BLOOD BANK | MICRO PIPPETTE | BIO SYSTEM | CLASSIC 500µl
BLOOD BANK | MICRO PIPPETTE | BIO SYSTEM | 1000µl
BLOOD BANK | MICRO PIPPETTE | BIO SYSTEM | 100µl
BLOOD BANK | MICROSCOPE (MONOCULAR) | LABOMED
BLOOD BANK | MICROSCOPE (BINOCULAR) | ADELTA OPTIC
BLOOD BANK | BLOOD BANK REFRIGERATOR | TERUMO PENPPOL | BBR 300L
BLOOD BANK | DONOR COUCH | TERUMO PENPPOL | DC 200
BLOOD BANK | BLOOD COLLECTION MONITOR | TERUMO PENPPOL | D-601
BLOOD BANK | DEEP FREEZER - 80 DEGREE | TERUMO PENPPOL | DF 80U
BLOOD BANK | DEEP FREEZER - 40 DEGREE | TERUMO PENPPOL | DF 40U
BLOOD BANK | CRYO BATH | TERUMO PENPPOL | CB 100
BLOOD BANK | PLATELET AGITATOR | TERUMO PENPPOL | PA 300
BLOOD BANK | PLATELET INCUBATOR | TERUMO PENPPOL | PI 200
BLOOD BANK | ELECTRONIC WEIGHING SCALE | TERUMO PENPPOL | CS 300
BLOOD BANK | TUBE SEALER | TERUMO PENPPOL | XS 1010
BLOOD BANK | PLASMA EXPRESSOR | TERUMO PENPPOL | PE (M)
BLOOD BANK | BLOOD BANK CENTRIFUGE | REMI | KBM 70 PLUS
BLOOD BANK | LAMINAR AIRFLOW | BESTON | HLF- 2
BLOOD BANK | CENTRIFUGE | REMI | R-8C
BLOOD BANK | MICRO PIPPETTE | THERMO SCIENTIFIC | 20-200µL
CSSD | AUTOCLAVE | ROYAL SURGICALS
CSSD | AUTOCLAVE | KERALA SURGICAL
CSSD | AUTOMATIC SEALER | SEEPACK | SEEPACK
CSSD | GAUZE CUTTER | NIKKO | SN-200(10)
CSSD | PLASMA STRELIZER | STERRAD | 100S
CSSD | VACCUM STEAM STERILIZER | MACHIN FABRIK | 810 DA-I-PLUS
CSSD | FLASH STERILIZER | STURDY | SA-252-F 40L
CSSD | WASHER DISINFECTOR | MACHIN FABRIK | WD-D
CSSD | ULTRASONIC CLEANER | MACHIN FABRIK | U-30
CSSD | DRYING CABINET | MACHIN FABRIK | 450*450*600
CSSD | PASSBOX | MACHIN FABRIK | 600*600*600
NICU | RADIANT WARMER | ZEAL | ZEAL
NICU | RADIANT WARMER | ZEAL | ZEAL
NICU | RADIANT WARMER | ZEAL | ZEAL
NICU | RADIANT WARMER | ZEAL | ZEAL
NICU | RADIANT WARMER | ZEAL | ZEAL
NICU | PHOTO THERAPY | ZEAL | ZEAL
NICU | PHOTO THERAPY | ZEAL | ZEAL
NICU | PHOTO THERAPY | ZEAL | ZEAL
NICU | PHOTO THERAPY | ZEAL | ZEAL
NICU | DIGITAL WEIGHING SCALE | ZEAL | ZEAL
NICU | LIGHT SOURCE | VANSARI | VMS
CTICU | BLOOD GAS ANALYSER | INSTRUMENT LABORATORY | GEM PREMIER 3000
NICU | RADIANT WARMER | ZEAL | ZEAL CE
NICU | RADIANT WARMER | ZEAL | ZEAL CE
LABOUR ROOM | COMPUTED TOCOGRAPH | PHILIPS | AVALON FM 20
LABOUR ROOM | FOETAL DOPPLER | BPL | FD 9613
LABOUR ROOM | PULSE OXY METER | BPL | CLEO
LABOUR ROOM | SPOT LIGHT | PHILIPS | PHILILUX MOBIL
LABOUR ROOM | RADIANT WARMER | ZEAL | ZEAL
LABOUR ROOM | DIGITAL WEIGHING SCALE | ZEAL | ZEAL
LABOR ROOM | COMPUTED TOCOGRAPH | BPL | DIV/9854/R
LABOR ROOM | FOETAL DOPPLER | BPL | FD9713
DIALYSIS | DAILYSIS MACHINE | FRESENIUS | 4008S
DIALYSIS | DAILYSIS MACHINE | FRESENIUS | 4008S
DIALYSIS | DAILYSIS MACHINE | FRESENIUS | 4008S
DIALYSIS | DAILYSIS MACHINE | FRESENIUS | 4008S
DIALYSIS | DAILYSIS MACHINE | FRESENIUS | 4008S
DIALYSIS | DAILYSIS MACHINE | FRESENIUS | 4008S
DIALYSIS | DAILYSIS MACHINE | FRESENIUS | 4008S
DIALYSIS | DIALYSIS MACHINE | FRESENIUS | 4008 S NG
DIALYSIS | DIALYSIS MACHINE | FRESENIUS | 4008S
DIALYSIS | DIALYSIS MACHINE | FRESENIUS | 4008 S NG
DIALYSIS | RO PLANT | GE | E4 OSMOSIS
DIALYSIS | DIGITAL WEIGHING SCALE |  | AXP 300
DENTAL OP | DENTAL CHAIR | CONFIDENT | MEENAKSHI
DENTAL OP | DENTAL CHAIR | PRIME MEDICAL | CHALLENGER
DENTAL OP | DENTAL X- RAY | STATELEC | X MIND
DENTAL OP | AUTOCLAVE | MECHLAVE | QUADRA 12
DENTAL OP | SCALAR | W&H | PYON 1
DENTAL OP | DENTAL CHAIR | CLINIX
OPTHALMOLOGY | TONOMETER
OPTHALMOLOGY | GONIOSCOPE LENS
OPTHALMOLOGY | 90D LENS
OPTHALMOLOGY | PLACIDO DISC
OPTHALMOLOGY | AUTO LENS METER | SHIN NIPPON | SLM 5000
OPTHALMOLOGY | A-SCAN | SONOMED | PAC SCAN 300A
OPTHALMOLOGY | AUTO REFERATOMETER | SHIN NIPPON | ACCUREF-K9001
OPTHALMOLOGY | SlIT LAMP | SHIN NIPPON | SL-TM-B-45
OPTHALMOLOGY | INDIRECT OPTHALMOSCOPE |  | AA 107
OPTHALMOLOGY | HEAD LAMP
OPTHALMOLOGY | OPTHALMOSCOPE
OPTHALMOLOGY | VISION DRUM
OPTHALMOLOGY | RETINOSCOPE
OPTHALMOLOGY | TRIAL SET
OPTHALMOLOGY | STEATHESCOPE
PHYSIOTHERAPY | ULTRA SOUND | TECHNOMED | ELETRO SOUND 608
PHYSIOTHERAPY | IFT | HMS | UNISTIM
PHYSIOTHERAPY | NERVE STIMULATOR | HMS | INDOSTIM-DT
PHYSIOTHERAPY | NERVE STIMULATOR | HMS | INDOSTIM-DT
PHYSIOTHERAPY | ULTRA SOUND | HMS | INDOSONIC
PHYSIOTHERAPY | SHORT WAVE DAITHERMY | HMS | INDOTHERM 500
PHYSIOTHERAPY | NERVE STIMULATOR | TECHNOMED | ELECRO STIM DT
PHYSIOTHERAPY | NERVE STIMULATOR | VECTROSTIM | VECTROSTIM
PHYSIOTHERAPY | TRACTION UNIT | HMS | INDOTRAC
PHYSIOTHERAPY | IR LAMP | MURPHY
PHYSIOTHERAPY | WAX THERAPY UNIT | HMS
PHYSIOTHERAPY | MOIST HEAT UNIT | HMS
PHYSIOTHERAPY | VIBRATOR | TENS | S780
PHYSIOTHERAPY | STATIC CYCLE
PHYSIOTHERAPY | QUADRACEPS TABLE
PHYSIOTHERAPY | SHOULDER WHEEL
PHYSIOTHERAPY | TILTING TABLE
PHYSIOTHERAPY | REEDUCTION BOARD
PHYSIOTHERAPY | CRUTCHES
PHYSIOTHERAPY | WALKER
DERMATOLOGY-OP | CAUTERY | ELLMAN
DERMATOLOGY-OP | IONTOPHORESIS | DERMAINDIA
DERMATOLOGY-OP | BYFRECATOR | DERMAINDIA
Note on B273: Author: PUMP1- 201093 PUMP2-201092 PUMP3-201084 PUMP4-201082 PUMP5-201079
Note on B274: Author: PUMP1-201080 PUMP2-201081 PUMP3-201070 PUMP4-201085
Note on B382: Author: FREE WITH COMPUTED TOCOGRAPH, BPL DIDN’T RECEIVED THE INSTALLATION REPORT
Note on B454: Author: FREE WITH COMPUTED TOCOGRAPH, BPL DIDN’T RECEIVED THE INSTALLATION REPORT